GLAZING COMPLIANCE STATEMENT

(AS1288 Glass in buildings – Selection and installation and AS/NZS 1170 Series)

Property details

| Property address: |  |
| --- | --- |

| Approval No.: |  |
| --- | --- |

Nature of works

| Type: |  |
| --- | --- |

| Location.: |  |
| --- | --- |

Statement

I, INSERT NAME, of INSERT ADDRESS, solemnly declare and affirm the following in a professional capacity:

- I possess a comprehensive understanding of the requirements stipulated in the NCC / Housing provisions standard and AS 1288, pertaining to glazing installations. I further confirm that I have diligently applied the prescribed design criteria mandated by these documents during the process of installing glazing at the aforementioned property,

- My knowledge and application of AS 1288 encompass the requisite standards, guidelines, and provisions essential for ensuring the safe and compliant installation of glazing systems. I have taken into account all the necessary factors, including but not limited to loadings, wind resistance, safety considerations, and structural integrity,

- I am fully aware of the specific design considerations of AS 1288 (Section 3 and/or 7) that are appurtenant when the height of a finished surface level surpasses one (1) metre or more in relation to the ground surface below that point immediately adjacent,

- I have installed the glazing system at the above-mentioned property in relation to the approval as identified above and it complies with:

  - The National Construction Code (NCC),

  - Housing Provisions Standard,

  - AS/NZS 1170 series,

  - AS 1288 (namely Sections 3 & 7 where appurtenant to a glazed system used in as a balustrade), and

  - AS 1926.1 (if applicable).

- I hereby indemnify and hold harmless any third parties who rely upon this statement in good faith, assuming no liability for any damages or losses incurred as a result of their reliance on the accuracy and truthfulness of this statement, and

- I acknowledge that any false statements or misrepresentations made in this statement may have legal consequences.

Qualification / Experience

| Name and company name: |  |
| --- | --- |

| Qualification / experience.: | (Glazier, Pool Fencing Installer, Structural engineer, etc.) |
| --- | --- |

| Signature |  | Date |  |
| --- | --- | --- | --- |